## Slide 1: LHConCRAY/ System-centric status update
Miguel, CSCS
November 02, 2016

## Slide 2: System overview
Relatively stable operation since
  Emergency reboot on 30.09.2016 due to DVS instabilities.
  Emergency reboot on 24.10.2016 due to security vulnerability.
Scratch no longer on GPFS as it was moved on 24.10.2016 to Phoenix.
  All operations now run on /scratch/snx2000tds/wlcg (Lustre Sonexion).
3GB memory per job minimum. Forced by ARC.
  This is to prevent overheads in using Shifter to kill the job before it finishes.
  Likely can be reduced, as the new version does not show same behavior.
  But interested in seeing if all workloads can finish, we can lower this restriction once all is OK.

## Slide 3: VO status from system perspective
All VOs enabled and resources distributed (all nodes have 64GB/RAM)
  2 nodes for LHCb
  2 nodes for CMS
  2 nodes for ATLAS
  1 node shared CMS/ATLAS
CPU-hours per VO between 2016-09-01 and 2016-12-02:
  ATLAS: 183.060 CPU-hours (8-core plus monitoring)
  CMS: 19.221 CPU-hours (8-core plus monitoring)
  LHCb: 30.201 CPU-hours (all single core, seem few hours, but system is always full)

## Slide 4: Current issues (1)
CVMS is stable, but ATLAS has some problems with specific HC tests (813 is a good example). All failing HC tests show the same issue.
  It is difficult to understand what is happening, since most errors seem to report Python hash problems
  But when running manually all files are there and can be used.
    Increased number of open-files and other security limits.
    Problem still persists
  Gianfranco provided the environment, so we can further debug this.
Using AtlasProduction/20.7.5.1 [cmt] with platform x86_64-slc6-gcc49-opt
at /cvmfs/atlas.cern.ch/repo/sw/software/x86_64-slc6-gcc49-opt/20.7.5
manpath: warning: $MANPATH set, ignoring /etc/manpath.config
ERROR:root:code for hash md5 was not found.
Traceback (most recent call last):
File "/cvmfs/atlas.cern.ch/repo/sw/software/x86_64-slc6-gcc49-opt/20.7.5/sw/lcg/releases/LCG_81c/Python/2.7.9.p1/x86_64-slc6-gcc49-opt/lib/python2.7/hashlib.py", line 147, in <module>
globals()[__func_name] = __get_hash(__func_name)
File "/cvmfs/atlas.cern.ch/repo/sw/software/x86_64-slc6-gcc49-opt/20.7.5/sw/lcg/releases/LCG_81c/Python/2.7.9.p1/x86_64-slc6-gcc49-opt/lib/python2.7/hashlib.py", line 97, in __get_builtin_constructor
raise ValueError('unsupported hash type ' + name)
ValueError: unsupported hash type md5
ERROR:root:code for hash sha1 was not found.

## Slide 5: Current issues (2)
Is CMS suffering from similar or other problems?
Is LHCb suffering from similar or other problems?

## Slide 6: Thank you for your attention.