## Slide 1: Proposal: LHConCRAY operations in 2017
Pablo Fernandez, Stefano Gorini
27th January, 2017

## Slide 2: Introduction
CHiPP and CSCS have dedicated significant efforts, during the last 2 years, to migrate and test regular Tier2 workflows into CRAY hardware
In 2 months (beginning of December) CCSB should choose whether to go into production with Cray shared resources (LHConCRAY)
  If yes: Move from “Project” to “Operational” mode
  If no: Suspend the project until at least 2020
This document describes the financial overview until the end of 2020.

## Slide 3: Changes in “Services” Model
The current working model is based on direct (exposed) HW investments
Moving into shared resources means changing the current service model:
  Up to now CHiPP was taking decisions about how to invest in a dedicated infrastructure,
  In future CHiPP would decide about buying shares of a generic infrastructure provisioned by CSCS.
Each resource provided by CSCS will have a well-defined price tag
  X CHF per node-hour
  Y CHF per TB and year
  Z CHF per year for well-defined middleware services
This transition of model needs to happen smoothly and ensure continuity
Details (such as prices, quantities, QoS) of the offered service have to be agreed between CHiPP and CSCS
  FTE’s will still be accounted for separately for convenience, but included in the general service offering

## Slide 4: Resource Planning

## Slide 5: Concept
The growth growth of resources will be provided using shared resources at CSCS
In general move from “HW investment mode” to “paying for services”
  Compute
    Dedicated number of nodes
    Resources will be charged whether they are being used or not, including downtimes
  Storage
    Allocation of disk space via the SAN (as today)
CHIPP funding will be used to pay operational costs including HW investments, maintenance and personnel. Costs for electricity & cooling are covered by ETH
  The costs for services will be subtracted from the global CHiPP funds on a yearly basis

## Slide 6: Potential Computing Resources Growth (2018-2020)
Values by April of each year (compute pledges are 10% lower of installed capacity, not defined for 2020 yet)
Numbers show the maximum that can be afforded with current flat budget. It would be wise to lower them a bit and put some money aside for extras (e.g. higher memory, DataWarp, scratch, additional projects, budget cuts, etc.)
LHConCRAY shows more resources for the same cost, assuming a similar CPU efficiency & failure rates compared to Phoenix
PHOENIX only * | 2017 | 2018 | 2019 | 2020
Compute [HS06] | 87,000 | 107,000 | 122,000 | 140,000
Storage [TB] | 3,500 | 4,000 | 4,300 | 4,800
Compute | 2017 | 2018 | 2019 | 2020
Phoenix [HS06] | 66,930 | 64,922 | 0 | 0
Shared [HS06] | 20,700 | 46,114 | 141,016 | 179,090
TOTAL [HS06] | 87,630 | 111,036 | 141,016 | 179,090
Storage | 2017 | 2018 | 2019 | 2020
Phoenix [TB] | 2,715 | 2,105 | 1,057 | 0
Shared [TB] | 800 | 1,910 | 3,560 | 5,310
TOTAL [TB] | 4,015 | 4,015 | 4,617 | 5,310
* Presented to SNF in Nov. 2016 until 2019, estimated. Year 2020 is an extrapolation
* Phoenix’s Island capacity cap of 100 kW is not considered yet (currently 80 kW used)
Pledges | 2017 | 2018 | 2019
Compute [HS06] | 78,000 | 96,000 | 110,000
Storage [TB] | 3,500 | 4,000 | 4,300
Phoenix + Shared
Phoenix Only

## Slide 7: Resource Planning 2018 and beyond
The plan is to continue the growth in the shared environment
  There will be a big jump in the number of needed resources when Phoenix is shut down (April 2019) that goes beyond one cabinet of Piz Daint
  A hardware investment is therefore needed, since there are not so many high-memory nodes in the MultiCore partition
  CSCS will need a binding commitment by the end of 2017 with a resource plan (+/- 20%) for the time period 2018-2020
Fallback strategy
There is a possibility for any of the parties to decide that the use of shared compute resources was not such a good idea after all. This should happen by December 2017 and the agreement until April 2018 should be honored, unless agreed by both parties. Should this scenario happen, regular investments on Phoenix will continue as before.
Storage resources can still be provisioned as a shared resource
Amount of resulting resources in Phoenix for 2018 and beyond would be impacted by a reduction of 4,000 HS06 in the following years (still 7% above pledges, instead of 10%)
PHOENIX after fallback | 2017 | 2018 | 2019 | 2020
Compute [HS06] | 87,000 | 103,000 | 118,000 | 136,000
Storage [TB] | 3,500 | 4,000 | 4,300 | 4,800
Pledges | 2017 | 2018 | 2019
Compute [HS06] | 78,000 | 96,000 | 110,000
Storage [TB] | 3,500 | 4,000 | 4,300

## Slide 8: Price comparison between Piz Daint and Phoenix
For the same investment, the resulting resources are better in Piz Daint by:
  In 2018, 2.7% in compute, 0% in storage
  In 2019, 14.4% in compute, 7% in storage
  In 2020, 26.6% in compute, 10% in storage
 |  | 2017 | 2018 | 2019 | 2020
COMPUTE | Effective Capacity | 78,687 | 99,932 | 126,914 | 161,181
 | Pledges | 78,000 | 96,000 | 110,000 | 124,000
STORAGE | Effective Capacity | 4,015 | 4,015 | 4,617 | 5,310
 | Pledges | 4,000 | 4,000 | 4,300 | 4,300
PHOENIX | Compute effective Capacity | 79.091 | 97.273 | 110.909 | 127.273
 | Storage Capacity | 3500 | 4000 | 4300 | 4800

## Slide 9: Scratch & Middleware Resources

## Slide 10: Scratch
Scratch for CHiPP specific needs (large number of files) require a specific (GPFS) Scratch file system that has been recently installed
The current setup should cover the needs until the end of 2018. Afterwards we would have to look for alternatives (CHF 150,000 have been put aside for this purpose in the planning)
  This provision is not part of the Phoenix-only plan, which will render its final resources even smaller

## Slide 11: Network and Middleware
In order to simplify the purchase and deployment of the different network and middleware HW components, the following services will be grouped into a single entity:
  Network & Internet connectivity, dCache service nodes, ARC, VOBOXes, ARGUS, BDII, CVMFS, PerfSonar, Monitoring, Accounting, Login, Configuration Mgmt.
  The HW costs for this entity is estimated to be CHF 40,000 per year
These services would be scaled up considering today’s requirements and the foreseen growth, included in the price
New services can be requested and agreed upon at any later moment

## Slide 12: Phoenix maintenance costs
Phoenix needs to be maintained and operational while in operation (April 2019)
  Costs are estimated to be CHF 50,000 in 2017 and CHF 30,000 in 2018
  Mostly to cover GPFS licenses and necessary HW renewal, to be as compatible with the new setup as possible

## Slide 13: Previous Questions

## Slide 14: Questions (to be addressed after entering production)
Define the right size of node. Does 128 GB RAM/node make sense? Should we go to 256? Mixed mode (part 128, part 256)?
  128 GB seems to be a good balance
What is the effect of DataWarp? (separate project?)
  Can we reduce the costs? Needs more investigation
  Could host CVMFS file system. Tested, but it’s okay outside
  Can provide swap space. Done, works well.
  Could replace the need for a powerful Scratch FS. Needs more investigation.
  Could accelerate I/O for analysis. Needs more investigation
What are the scalability constrains?
  What could be the maximal size of the CHiPP allocation on Piz Daint? We should be able to fit the needed capacity (~220 nodes)
  Are there bottlenecks? How do we address them? 5 DVS seems to be the main constraint, may be solved with DataWarp (or by increasing the number of DVS nodes)
  What is the maximal number of jobs in the queue that can be managed? Just introduced some changes that should make it much better

## Slide 15: Thank you for your attention.